## DEDUPLICATED_STOCK
Deduplicated Physical Inventory Verification Sheet
PN | Description | Expected Qty | All Locations | Location Count | Counted Qty | Difference | Checked By | Notes
2026653-002 | Dash500 | 2 | C1 | 1
2026653-004 | Dash 4000 fru | 0 | C1 | 1
2026653-006 | Dash 3000 display | 1 | C1 | 1
2026653-008 | Fru dash 3000/4000 | 1 | C1 | 1
2026653-045 | Fru dash 3000/4000 | 2 | C1 | 1
8005308-x | Power management board | 1 | C1 | 1
111013716 | Pump T Motor C | 0 | C2 | 1
2044978-005 | B30 Cable / xxxx Connectors | 1 | C2 | 1
2053489-008 | LCD Cable | 1 | C2 | 1
2053489-009 | LCD Module B20/B40 | 0 | C2 | 1
2053489-010 | b20/b40 power Supply | 1 | C2 | 1
2053489-019 | B20/B40 Keypad | 17 | C2 | 1
2053489-021 | B20 Pump Motor | 1 | C2 | 1
2053489-028 | B20/B40 Pump | 1 | C2 | 1
2053489-031 | B40 NIBP Keypad | 1 | C2 | 1
2053489-032 | B20/B40 N2 BP Connector | 3 | C2 | 1
2053489-034 | B20 Pump Valve | 0 | C2 | 1
2053489-061 | B20/B40 Adapter | 0 | C2 | 1
2053489-072 | B20/B30 LED Backlight | 0 | C2 | 1
2061869-008 | LCD B40 | 2 | C2 | 1
2061869-088 | B20 Filter | 5 | C2 | 1
5808800-06 | AC/DC Module | 0 | C2 | 1
5808800-31 | STX5 PVT Pneumatic System | 1 | C2 | 1
2044978-025 | B30 ECG Board | 0 | C2, C3 | 2
2009915-003 | Procare handles Assembly | 1 | C3 | 1
2036658-001 | Pneumatic pump kit includes pump and dump valve kit | 1 | C3 | 1
2037103-015 | V100 NIBP Pump | 2 | C3 | 1
2037103-024 | V100 SPO2 Board | 1 | C3 | 1
2037103-044 | V100 Keypad Kit | 27 | C3 | 1
2037103-085 | V100 Front Board w/o SPO2 | 2 | C3 | 1
20998800-011 | B105/B125 Main Board | 0 | C3 | 1
2104122-001 | B650 Power Supply | 1 | C3 | 1
M1178175 | B650 Keypad | 1 | C3 | 1
2013114-020 | Dash Pump | 6 | C3, C4 | 2
M1233487 | B450 module and rail Unit | 1 | C3, C4 | 2
2009911-001 | Main board dinamap pro 400 | 1 | C4 | 1
2013782-001 | Pro 1000V3FRU | 1 | C4 | 1
2023852-006 | Dash 2500 Buttons | 2 | C4 | 1
2023852-014 | Speaker Dash 2500 | 1 | C4 | 1
2023852-016 | Dash 2500 Trimknob | 0 | C4 | 1
2024531-001 | Dash monitor part | 1 | C4 | 1
2026653-016 | Dash 3000 keypad | 2 | C4 | 1
2026653-018 | Dash 5000 keypad | 2 | C4 | 1
2026653-022 | Dash 3000 inverter fru | 16 | C4 | 1
2026653-023 | Display inverter dash 4000 | 4 | C4 | 1
2026653-024 | Dash Trim knob cover | 11 | C4 | 1
2027368-002 | Main board fetal monitor | 1 | C4 | 1
2034888-001 | Dinamap v100 connector | 7 | C4 | 1
2060440-001 | Data port adapter | 11 | C4 | 1
2092900-001 | Data port adapter | 1 | C4 | 1
5513811 | E-PSMP STP SPO2 Board | 0 | C4 | 1
6600-2138-500 | 2 | 0 | C4 | 1
M1007722 | PSMP ECG Board | 1 | C4 | 1
M1027528 | E-PSMP Front Panel | 1 | C4 | 1
M1038993-S | CPU Board for xxxx | 1 | C4 | 1
M1206290 | Pump Unit E-Scaio | 2 | C4 | 1
M1221539 | NIBP Unit Valve PSMP | 1 | C4 | 1
M122154 | NIBP pump | 1 | C4 | 1
2006933-003c | Assy dash das masimo | 0 | C5 | 1
2013114-018 | Dash 3000/4000 Power supply | 3 | C5 | 1
2018859-001 | Universal AC DC adapter | 3 | C5 | 1
2023852-011 | Dash 2500 power supply | 1 | C5 | 1
2086113-001 | Plastic kit B450 | 2 | C5 | 1
801674-001 | Pcb power svp solar room | 1 | C5 | 1
882508 | Power logic board | 1 | C5 | 1
887520-HEL | NIBP M-nestpr | 1 | C5 | 1
M1021912 | Back light F-mx | 1 | C5 | 1
N-LP0W-00 | Light Monitor Power Adapter | 0 | C5 | 1
N-LPOW-00 | Light Monitor Power Adapter | 1 | C5 | 1
1505-3208-000 | Flow transducer | 0 | D2 | 1
1505-3648-001 | Assy - MSN Exhalation valve with diaphragm and flow sensor- single use | 0 | D2 | 1
1505-3848-000 | Assy - MSN Exhalation valve flow sensor | 40 | D2 | 1
1505-8568-000 | Assy - MSN EXH VALVE ASSY | 0 | D2 | 1
2066858-001 | R860 Control Board | 0 | D2 | 1
AG-AP1000 | Pro Nebulizer | 0 | D2 | 1
M1061596 | Kit Neonatal Software Option | 0 | D2 | 1
M1200693 | Exhalation Valve Heater | 7 | D2 | 1
M1052831 | Power Supply R860 | 0 | D2, E3 | 2
1504-3708-000 | ??? | 0 | D3 | 1
1505-3027-000 | Filter | 0 | D3 | 1
1505-3062-000 | Water Trap | 0 | D3 | 1
1505-3215-000 | transducer O2 concentration | 0 | D3 | 1
1505-3272-000 | Flow sensor Neonatal | 0 | D3 | 1
1505-5602-000 | Nebulizer Cable | 0 | D3 | 1
1505-5604-000 | Neonatal Flow Sensor Cable | 0 | D3 | 1
1605-3263-000-S | Speaker | 0 | D3 | 1
2070436-001 | Cable Isolation Nurse Call | 0 | D3 | 1
2077167-001 | Keypad (Engstrom FMI 36056) | 0 | D3 | 1
212-1049-100 | ??? CAP | 0 | D3 | 1
51008498 | Button | 0 | D3 | 1
5697240 | Isolation plate with o-ring and screws for 1505-3215-000 | 0 | D3 | 1
AG-AP1005 | Silicone Plug bag of 5 | 0 | D3 | 1
AG-AP1020 | Aerogen Pro Pediatric T-piece with Silicone Plug, 15mm (5/box) | 0 | D3 | 1
AG-AP1030 | Filter cap | 0 | D3 | 1
AGAP1030 | Filter Cap FRU | 0 | D3 | 1
M1188723 | Heater cable | 0 | D3 | 1
N2029 | Infant Bacteria Filter | 0 | D3 | 1
N3029 | Autoclavable Bacteria Filter | 0 | D3 | 1
N9010/24/M | PM kit for SLE 5000 | 0 | D3 | 1
1505-3244-000 | Exhalation water trap | 0 | D3, F5 | 2
419723-002 | CPU board SLE 5000 | 0 | D4 | 1
419723-003 | CPU board SLE4000 | 0 | D4 | 1
A0763/02/M | Control board SLE 5000 | 0 | D4 | 1
D0721/V143 | Monitor IC SLE 5000 | 0 | D4 | 1
M0701/04 | 80mm Filter (2 packs) | 0 | D4 | 1
M0701/05 | filters | 0 | D4 | 1
M1210177 | Kit Touch Complete Display Upgrade | 0 | D4 | 1
N0701/05 | Filter | 0 | D4 | 1
N0P80/004/003 | Valve Solenoid | 0 | D4 | 1
N2030 | Flexible plastic tubung 15m | 0 | D4 | 1
N2042 | O-ring | 0 | D4 | 1
N2125/18 | Push button switch | 0 | D4 | 1
N2128/02/18 | Push button switch SLE 2000 | 0 | D4 | 1
N2185/05 | Duckbill filter | 0 | D4 | 1
N2185/06 | Conical filter | 0 | D4 | 1
N2185/22 | ????????? (unknown/blank) | 0 | D4 | 1
N2186 | Silencer SLE 2000 | 0 | D4 | 1
N2186/01 | Silencer SLE 4000/5000/6000 | 0 | D4 | 1
N2191 | Oxygen cell sensor SLE2000 | 0 | D4 | 1
N2191/10 | O2 sensor | 0 | D4 | 1
N2266 | Connectors SLE 2000 | 0 | D4 | 1
N2266/50 | Connectors SLE 4000/5000 | 0 | D4 | 1
N5402-Rev2 | Panda flow sensor | 0 | D4 | 1
N6656 | Flow sensor adult SLE (4000/5000/6000) | 0 | D4 | 1
N9064 | Valve | 0 | D4 | 1
NoP8o/004/003 | FLNSCH 24V DC | 0 | D4 | 1
W0334/01 | Sensor Loom SLE 5000 | 0 | D4 | 1
2082006-001 | O2 cell assy | 0 | DEFAULTLOCATION, F3 | 2
2075796-001 | Temp Probe Reusable Infant | 1 | E2 | 1
2080429-001 | Kit SVCE PCA Relay ROHOS Giraffe | 0 | E2 | 1
2081533-001 | (unknown) ??? | 0 | E2 | 1
2086675-001 | Brushless DC Motor | 2 | E2 | 1
4191409 | Unknown | 1 | E2 | 1
5513688 | Fan Motor | 0 | E2 | 1
6600-0119-850 | (unknown) ??? | 1 | E2 | 1
6600-0235-850 | SPOT PT LAMP | 1 | E2 | 1
6600-0704-700 | Unknown | 1 | E2 | 1
6600-1162-500 | Unknown | 1 | E2 | 1
6600-1513-700 | Unknown | 1 | E2 | 1
77118320 | Servo control PCA (Panda Warmer) | 1 | E2 | 1
77197108 | PCB | 1 | E2 | 1
77197409 | PCB-771-7754 | 1 | E2 | 1
M1118328 | Servo control PCA (Panda Warmer) | 1 | E2 | 1
M1162516 | Unknown | 1 | E2 | 1
M1191408 | PCB | 1 | E2 | 1
M1191409 | PCB-TIL-MB1 | 0 | E2 | 1
M1201577 | SVC Kit Humidifier Cover | 0 | E2 | 1
M1187861 | Kit Servo Humidity | 1 | E2, E3 | 2
2081522-001 | Power Supply Omnibed | 2 | E3 | 1
2107356-001 | Replacement air filters box | 1 | E3 | 1
5864514 | Unknown | 10 | E3 | 1
5864515 | Unknown | 2 | E3 | 1
5864516 | Unknown | 2 | E3 | 1
5864518 | Unknown | 1 | E3 | 1
6600-0054-801 | Kit Motor | 1 | E3 | 1
6600-0120-850 | Sensor O2 / Servo O2 | 5 | E3 | 1
6600-0207-850 | Air Filter | 0 | E3 | 1
6600-0221-800 | Kit Seal Handhole | 0 | E3 | 1
6600-0234-850 | Kit EP ROM | 5 | E3 | 1
6600-0962-204 | Replacement PCB for Giraffe Scale | 1 | E3 | 1
6600-1238-500 | Pant-hole Door | 1 | E3 | 1
6600-1248-500 | Corner Grommet | 4 | E3 | 1
M-43gE (410304) | O2 sensor | 0 | E3 | 1
M1118319 | Control Board for Panda Warmer | 0 | E3 | 1
N-43GE | O2 cell | 5 | E3 | 1
2080424-001 | Control board omni-bed | 1 | E4 | 1
2080962-001 | SVC PCA control giraffe Touch Rots | 1 | E4 | 1
6600-0212-850 | PCA control giraffe | 1 | E4 | 1
0212-1049-100 | Dome valve check | 0 | F1 | 1
1006-8285-000-S | PCA CPU PCB | 0 | F1 | 1
1006-8424-000 | FLM kit O2 oux | 0 | F1 | 1
1605-3038-000 | Injector | 0 | F1 | 1
1009-5570-000 | CA B15 to O2 cell - o2 cell cable | 0 | F2 | 1
1011-800-000-S | Gas Mixer electronic | 0 | F2 | 1
2069358-001-S | Flow Sensor | 0 | F2 | 1
2071165-001-S | Absorber canister reusable | 0 | F2 | 1
2076733-001-S | Power supply CS620 | 0 | F2 | 1
2078337-001-S | Cover assembly canister | 0 | F2 | 1
M11493-11 | N2O Flow Sensor | 0 | F2 | 1
M1800015-S | Harbess ACB to system switch | 0 | F2 | 1
1006-4258-000 | Power supply Aspire/Aestiva 7900 | 0 | F3 | 1
1009-8009-000 | VentMon board subassy CAP 7100 | 0 | F3 | 1
1406-8202-000-S | Valve APL assembly | 0 | F3 | 1
1406-8208-000 | Holder and Cover Flow | 0 | F3 | 1
1505-3856-000 | flow sensor plastic mri compatable | 0 | F3 | 1
1609-3040-000 | Power supply Aestiva | 0 | F3 | 1
2071018-001-S | kit O2 cell incld adapter | 0 | F3 | 1
2080961-001 | Power supply | 0 | F3 | 1
896085 | Filter F-CM1 | 0 | F3 | 1
896089 | Filter Capsule | 0 | F3 | 1
M1115067 | LCD / Aespire | 0 | F3 | 1
1006-3568-000 | Circuit Breaker | 0 | F4 | 1
1400-3017-000 | Retainor Disk ???? | 0 | F4 | 1
1406-3302-000 | Manifold APL | 0 | F4 | 1
1406-3314-000 | Seal main manifold breathing circuit bag | 0 | F4 | 1
1406-3315-000 | main Manifold seal - BCG | 0 | F4 | 1
1406-3414-000 | Seal canister BCG | 0 | F4 | 1
1406-3510-000 | Seal actuator plate | 0 | F4 | 1
1407-3506-000 | Set bag to vent match BCG | 0 | F4 | 1
1407-3507-000 | O-Ring | 0 | F4 | 1
1500-3351-000 | bellows assy aespire | 0 | F4 | 1
1500-3352-000 | Latch ABA Rim | 0 | F4 | 1
2071011-001-S | Support casting | 0 | F4 | 1
2089610-001-S | Flow Sensor | 0 | F4 | 1
2103468-001-S | Housing Bellows | 0 | F4 | 1
5700561 | Kit ACGO | 0 | F4 | 1
1006-8383-000 | Flow head regulator | 0 | F5 | 1
6600-1026-400 | Spring Hinge Right Porthole | 0 | F5 | 1
M1086468 | Flow sensor cleaning rock kit | 0 | F5 | 1
M1186636-5 | Inrush board | 0 | F5 | 1
1406-3396-000 | Set unidirectional valve breathing system | 0 | F7 | 1
0216-6785-870 | Kit GMS APL replacement parts | 0 | G1 | 1
1407-7025-000 | Condenser Module | 0 | G1 | 1
2078704-001 | tec-7 G-Flinge seal replacement kit | 0 | G1 | 1
2083929-001-S | Bag Arm and Protector Assy | 0 | G1 | 1
1009-3035-000 | Washer wave SST | 0 | G2 | 1
1009-3086-000 | Hook breathing circuit | 0 | G2 | 1
1009-3150-000 | Washer Nylon white | 0 | G2 | 1
1407-7004-000 | ABS absorber canister reusable | 0 | G2 | 1
1500-3378-000 | Bellows subassy adult ABA | 0 | G2 | 1
2071081-001-S | Clip bag arm | 0 | G2 | 1
2075908-001 | Environmental sensor Assy | 0 | G2 | 1
5514183 | exhaust line | 0 | G2 | 1
6700-0014-800 | Slide bracket assy | 0 | G2 | 1
M1204423 | Bag to vent switch | 0 | G2 | 1
M12201505 | Fan filter | 0 | G2 | 1
M1220157 | Kit F-m express | 0 | G2 | 1
M1220717 | Port cover ?? right up | 0 | G2 | 1
M1236578 | 9100C CSB REPLACEMENT FMI 34040 | 0 | G2 | 1
M1808034 | Cable management arm short | 0 | G2 | 1
0210-0452-300 | O ring | 0 | G3 | 1
0210-0503-300 | O ring | 0 | G3 | 1
0210-5297-100 | disk check | 0 | G3 | 1
0236-0460-300 | filter | 0 | G3 | 1
1006-3149-000 | O ring | 0 | G3 | 1
1006-3969-000 | o ring | 0 | G3 | 1
1009-8160-000 | Assy MSN B tube | 0 | G3 | 1
1102-3016-000 | o ring seals on vaporizer | 0 | G3 | 1
1102-3043-000 | O ring | 0 | G3 | 1
1102-3056-000 | check google | 0 | G3 | 1
1406-3400-000 | flow sensor block | 0 | G3 | 1
1406-3422-000 | o ring | 0 | G3 | 1
1406-3560-000 | Cover AGSS | 0 | G3 | 1
1406-3581-000 | O ring breathing circuit | 0 | G3 | 1
1407-3204-000 | O ring | 0 | G3 | 1
1500-3377-000 | Diaphragm and seat subassy | 0 | G3 | 1
1503-3000-000 | poly bag | 0 | G3 | 1
1503-3056-000 | o ring | 0 | G3 | 1
1503-3088-000 | solinoid valve | 0 | G3 | 1
1503-3211-000 | filter | 0 | G3 | 1
1503-7014-000 | SIB SUBASSY ENHANCED 7900 Calibrated | 0 | G3 | 1
1504-3610-000 | valve proportional | 0 | G3 | 1
1505-3024-000 | fan | 0 | G3 | 1
2071173-001-S | Silicone seal canister | 0 | G3 | 1
210-0479-300 | O ring | 0 | G3 | 1
656498 | O ring | 0 | G3 | 1
6600-0540-400 | O ring | 0 | G3 | 1
886412 | O ring | 0 | G3 | 1
9221-3010-116 | o ring | 0 | G3 | 1
9221-3025-116 | O ring | 0 | G3 | 1
LA13-12-018z | google | 0 | G3 | 1
M10 | O2 cell | 0 | G3 | 1
M1174442-S1 | sensor differential pressure | 0 | G3 | 1
M1174448-S1 | Sensor differential pressure | 0 | G3 | 1